## Input Register
|  | Input Register |  | Data type: 32bit float
Modbus address | Type | Register no | Control | Mode
30001 | Input register | 1 | Consumption | Read only
30002 |  | 2
30003 | Input register | 3 | System pressure | Read only
30004 |  | 4
30005 | Input register | 5 | Master AE2 | Read only
30006 |  | 6
30007 | Input register | 7 | Master AE3 | Read only
30008 |  | 8
30009 | Input register | 9 | Master AE4 | Read only
30010 |  | 10
30011 | Input register | 11 | Module 1 AE1 | Read only
30012 |  | 12
30013 | Input register | 13 | Module 1 AE2 | Read only
30014 |  | 14
30015 | Input register | 15 | Module 2 AE1 | Read only
30016 |  | 16
30017 | Input register | 17 | Module 2 AE2 | Read only
30018 |  | 18
30019 | Input register | 19 | Module 3 AE1 | Read only
30020 |  | 20
30021 | Input register | 21 | Module 3 AE2 | Read only
30022 |  | 22
30023 | Input register | 23 | Module 4 AE1 | Read only
30024 |  | 24
30025 | Input register | 25 | Module 4 AE2 | Read only
30026 |  | 26
30027 | Input register | 27 | Module 5 AE1 | Read only
30028 |  | 28
30029 | Input register | 29 | Module 5 AE2 | Read only
30030 |  | 30
30031 | Input register | 31 | Module 6 AE1 | Read only
30032 |  | 32
30033 | Input register | 33 | Module 6 AE2 | Read only
30034 |  | 34
30035 | Input register | 35 | Module 7 AE1 | Read only
30036 |  | 36
30037 | Input register | 37 | Module 7 AE2 | Read only
30038 |  | 38
30039 | Input register | 39 | Module 8 AE1 | Read only
30040 |  | 40
30041 | Input register | 41 | Module 8 AE2 | Read only
30042 |  | 42
30043 | Input register | 43 | Module 9 AE1 | Read only
30044 |  | 44
30045 | Input register | 45 | Module 9 AE2 | Read only
30046 |  | 46
30047 | Input register | 47 | Module 10 AE1 | Read only
30048 |  | 48
30049 | Input register | 49 | Module 10 AE2 | Read only
30050 |  | 50
30051 | Input register | 51 | Module 11 AE1 | Read only
30052 |  | 52
30053 | Input register | 53 | Module 11 AE2 | Read only
30054 |  | 54
30055 | Input register | 55 | Module 12 AE1 | Read only
30056 |  | 56
30057 | Input register | 57 | Module 12 AE2 | Read only
30058 |  | 58
30059 | Input register | 59 | Module 13 AE1 | Read only
30060 |  | 60
30061 | Input register | 61 | Module 13 AE2 | Read only
30062 |  | 62
30063 | Input register | 63 | Module 14 AE1 | Read only
30064 |  | 64
30065 | Input register | 65 | Module 14 AE2 | Read only
30066 |  | 66
30067 | Input register | 67 | Module 15 AE1 | Read only
30068 |  | 68
30069 | Input register | 69 | Module 15 AE2 | Read only
30070 |  | 70
30071 | Input register | 71 | Module 16 AE1 | Read only
30072 |  | 72
30073 | Input register | 73 | Module 16 AE2 | Read only
30074 |  | 74
30075 | Input register | 75 | Module 17 AE1 | Read only
30076 |  | 76
30077 | Input register | 77 | Module 17 AE2 | Read only
30078 |  | 78
30079 | Input register | 79 | Module 18 AE1 | Read only
30080 |  | 80
30081 | Input register | 81 | Module 18 AE2 | Read only
30082 |  | 82
30083 | Input register | 83 | Module 19 AE1 | Read only
30084 |  | 84
30085 | Input register | 85 | Module 19 AE2 | Read only
30086 |  | 86
30087 | Input register | 87 | Module 20 AE1 | Read only
30088 |  | 88
30089 | Input register | 89 | Module 20 AE2 | Read only
30090 |  | 90
30091 | Input register | 91 | Module 21 AE1 | Read only
30092 |  | 92
30093 | Input register | 93 | Module 21 AE2 | Read only
30094 |  | 94
30095 | Input register | 95 | Module 22 AE1 | Read only
30096 |  | 96
30097 | Input register | 97 | Module 22 AE2 | Read only
30098 |  | 98
30099 | Input register | 99 | Module 23 AE1 | Read only
30100 |  | 100
30101 | Input register | 101 | Module 23 AE2 | Read only
30102 |  | 102
30103 | Input register | 103 | Module 24 AE1 | Read only
30104 |  | 104
30105 | Input register | 105 | Module 24 AE2 | Read only
30106 |  | 106
30107 | Input register | 107 | Module 25 AE1 | Read only
30108 |  | 108
30109 | Input register | 109 | Module 25 AE2 | Read only
30110 |  | 110
30111 | Input register | 111 | Module 26 AE1 | Read only
30112 |  | 112
30113 | Input register | 113 | Module 26 AE2 | Read only
30114 |  | 114
30115 | Input register | 115 | Module 27 AE1 | Read only
30116 |  | 116
30117 | Input register | 117 | Module 27 AE2 | Read only
30118 |  | 118
30119 | Input register | 119 | Module 28 AE1 | Read only
30120 |  | 120
30121 | Input register | 121 | Module 28 AE2 | Read only
30122 |  | 122
30123 | Input register | 123 | Module 29 AE1 | Read only
30124 |  | 124
30125 | Input register | 125 | Module 29 AE2 | Read only
30126 |  | 126
30127 | Input register | 127 | Module 30 AE1 | Read only
30128 |  | 128
30129 | Input register | 129 | Module 30 AE2 | Read only
30130 |  | 130
30131 | Input register | 131 | Module 31 AE1 | Read only
30132 |  | 132
30133 | Input register | 133 | Module 31 AE2 | Read only
30134 |  | 134
30135 | Input register | 135 | Module 32 AE1 | Read only
30136 |  | 136
30137 | Input register | 137 | Module 32 AE2 | Read only
30138 |  | 138
30139 | Input register | 139 | Module 33 AE1 | Read only
30140 |  | 140
30141 | Input register | 141 | Module 33 AE2 | Read only
30142 |  | 142
30143 | Input register | 143 | Module 34 AE1 | Read only
30144 |  | 144
30145 | Input register | 145 | Module 34 AE2 | Read only
30146 |  | 146
30147 | Input register | 147 | Module 35 AE1 | Read only
30148 |  | 148
30149 | Input register | 149 | Module 35 AE2 | Read only
30150 |  | 150
30151 | Input register | 151 | Module 36 AE1 | Read only
30152 |  | 152
30153 | Input register | 153 | Module 36 AE2 | Read only
30154 |  | 154
30155 | Input register | 155 | Module 37 AE1 | Read only
30156 |  | 156
30157 | Input register | 157 | Module 37 AE2 | Read only
30158 |  | 158
30159 | Input register | 159 | Module 38 AE1 | Read only
30160 |  | 160
30161 | Input register | 161 | Module 38 AE2 | Read only
30162 |  | 162
30163 | Input register | 163 | Module 39 AE1 | Read only
30164 |  | 164
30165 | Input register | 165 | Module 39 AE2 | Read only
30166 |  | 166
30167 | Input register | 167 | Module 40 AE1 | Read only
30168 |  | 168
30169 | Input register | 169 | Module 40 AE2 | Read only
30170 |  | 170
30171 | Input register | 171 | Module 41 AE1 | Read only
30172 |  | 172
30173 | Input register | 173 | Module 41 AE2 | Read only
30174 |  | 174
30175 | Input register | 175 | Module 42 AE1 | Read only
30176 |  | 176
30177 | Input register | 177 | Module 42 AE2 | Read only
30178 |  | 178
30179 | Input register | 179 | Module 43 AE1 | Read only
30180 |  | 180
30181 | Input register | 181 | Module 43 AE2 | Read only
30182 |  | 182
30183 | Input register | 183 | Module 44 AE1 | Read only
30184 |  | 184
30185 | Input register | 185 | Module 44 AE2 | Read only
30186 |  | 186
30187 | Input register | 187 | Module 45 AE1 | Read only
30188 |  | 188
30189 | Input register | 189 | Module 45 AE2 | Read only
30190 |  | 190
30191 | Input register | 191 | Module 46 AE1 | Read only
30192 |  | 192
30193 | Input register | 193 | Module 46 AE2 | Read only
30194 |  | 194
30195 | Input register | 195 | Module 47 AE1 | Read only
30196 |  | 196
30197 | Input register | 197 | Module 47 AE2 | Read only
30198 |  | 198
30199 | Input register | 199 | Module 48 AE1 | Read only
30200 |  | 200
30201 | Input register | 201 | Module 48 AE2 | Read only
30202 |  | 202
30203 | Input register | 203 | Module 49 AE1 | Read only
30204 |  | 204
30205 | Input register | 205 | Module 49 AE2 | Read only
30206 |  | 206
30207 | Input register | 207 | Module 50 AE1 | Read only
30208 |  | 208
30209 | Input register | 209 | Module 50 AE2 | Read only
30210 |  | 210
30211 | Input register | 211 | Module 51 AE1 | Read only
30212 |  | 212
30213 | Input register | 213 | Module 51 AE2 | Read only
30214 |  | 214
30215 | Input register | 215 | Module 52 AE1 | Read only
30216 |  | 216
30217 | Input register | 217 | Module 52 AE2 | Read only
30218 |  | 218
30219 | Input register | 219 | Module 53 AE1 | Read only
30220 |  | 220
30221 | Input register | 221 | Module 53 AE2 | Read only
30222 |  | 222
30223 | Input register | 223 | Module 54 AE1 | Read only
30224 |  | 224
30225 | Input register | 225 | Module 54 AE2 | Read only
30226 |  | 226
30227 | Input register | 227 | Module 55 AE1 | Read only
30228 |  | 228
30229 | Input register | 229 | Module 55 AE2 | Read only
30230 |  | 230
30231 | Input register | 231 | Module 56 AE1 | Read only
30232 |  | 232
30233 | Input register | 233 | Module 56 AE2 | Read only
30234 |  | 234
30235 | Input register | 235 | Module 57 AE1 | Read only
30236 |  | 236
30237 | Input register | 237 | Module 57 AE2 | Read only
30238 |  | 238
30239 | Input register | 239 | Module 58 AE1 | Read only
30240 |  | 240
30241 | Input register | 241 | Module 58 AE2 | Read only
30242 |  | 242
30243 | Input register | 243 | Module 59 AE1 | Read only
30244 |  | 244
30245 | Input register | 245 | Module 59 AE2 | Read only
30246 |  | 246
30247 | Input register | 247 | Module 60 AE1 | Read only
30248 |  | 248
30249 | Input register | 249 | Module 60 AE2 | Read only
30250 |  | 250
30251 | Input register | 251 | Module 61 AE1 | Read only
30252 |  | 252
30253 | Input register | 253 | Module 61 AE2 | Read only
30254 |  | 254
30255 | Input register | 255 | Module 62 AE1 | Read only
30256 |  | 256
30257 | Input register | 257 | Module 62 AE2 | Read only
30258 |  | 258
30259 | Input register | 259 | Module 63 AE1 | Read only
30260 |  | 260
30261 | Input register | 261 | Module 63 AE2 | Read only
30262 |  | 262
30263 | Input register | 263 | Module 64 AE1 | Read only
30264 |  | 264
30265 | Input register | 265 | Module 64 AE2 | Read only
30266 |  | 266

## Discrete Inputs
|  |  | Discrete inputs |  | Data type: boolean
| Modbus address | Type | Register no | Control | Mode
| 10001 | Discrete input | 1 | Module 1 Fault | Read only
| 10002 | Discrete input | 2 | Module 1 Motor running | Read only
| 10003 | Discrete input | 3 | Module 1 Ready | Read only
| 10004 | Discrete input | 4 | Module 1 Loaded | Read only
| 10005 | Discrete input | 5 | Module 1 Error | Read only
| 10006 | Discrete input | 6 | Module 1 R1 | Read only
| 10007 | Discrete input | 7 | Module 1 R2 | Read only
| 10008 | Discrete input | 8 | Module 2 Fault | Read only
| 10009 | Discrete input | 9 | Module 2 Motor running | Read only
| 10010 | Discrete input | 10 | Module 2 Ready | Read only
| 10011 | Discrete input | 11 | Module 2 Loaded | Read only
| 10012 | Discrete input | 12 | Module 2 Error | Read only
| 10013 | Discrete input | 13 | Module 2 R1 | Read only
| 10014 | Discrete input | 14 | Module 2 R2 | Read only
| 10015 | Discrete input | 15 | Module 3 Fault | Read only
| 10016 | Discrete input | 16 | Module 3 Motor running | Read only
| 10017 | Discrete input | 17 | Module 3 Ready | Read only
| 10018 | Discrete input | 18 | Module 3 Loaded | Read only
| 10019 | Discrete input | 19 | Module 3 Error | Read only
| 10020 | Discrete input | 20 | Module 3 R1 | Read only
| 10021 | Discrete input | 21 | Module 3 R2 | Read only
| 10022 | Discrete input | 22 | Module 4 Fault | Read only
| 10023 | Discrete input | 23 | Module 4 Motor running | Read only
| 10024 | Discrete input | 24 | Module 4 Ready | Read only
| 10025 | Discrete input | 25 | Module 4 Loaded | Read only
| 10026 | Discrete input | 26 | Module 4 Error | Read only
| 10027 | Discrete input | 27 | Module 4 R1 | Read only
| 10028 | Discrete input | 28 | Module 4 R2 | Read only
| 10029 | Discrete input | 29 | Module 5 Fault | Read only
| 10030 | Discrete input | 30 | Module 5 Motor running | Read only
| 10031 | Discrete input | 31 | Module 5 Ready | Read only
| 10032 | Discrete input | 32 | Module 5 Loaded | Read only
| 10033 | Discrete input | 33 | Module 5 Error | Read only
| 10034 | Discrete input | 34 | Module 5 R1 | Read only
| 10035 | Discrete input | 35 | Module 5 R2 | Read only
| 10036 | Discrete input | 36 | Module 6 Fault | Read only
| 10037 | Discrete input | 37 | Module 6 Motor running | Read only
| 10038 | Discrete input | 38 | Module 6 Ready | Read only
| 10039 | Discrete input | 39 | Module 6 Loaded | Read only
| 10040 | Discrete input | 40 | Module 6 Error | Read only
| 10041 | Discrete input | 41 | Module 6 R1 | Read only
| 10042 | Discrete input | 42 | Module 6 R2 | Read only
| 10043 | Discrete input | 43 | Module 7 Fault | Read only
| 10044 | Discrete input | 44 | Module 7 Motor running | Read only
| 10045 | Discrete input | 45 | Module 7 Ready | Read only
| 10046 | Discrete input | 46 | Module 7 Loaded | Read only
| 10047 | Discrete input | 47 | Module 7 Error | Read only
| 10048 | Discrete input | 48 | Module 7 R1 | Read only
| 10049 | Discrete input | 49 | Module 7 R2 | Read only
| 10050 | Discrete input | 50 | Module 8 Fault | Read only
| 10051 | Discrete input | 51 | Module 8 Motor running | Read only
| 10052 | Discrete input | 52 | Module 8 Ready | Read only
| 10053 | Discrete input | 53 | Module 8 Loaded | Read only
| 10054 | Discrete input | 54 | Module 8 Error | Read only
| 10055 | Discrete input | 55 | Module 8 R1 | Read only
| 10056 | Discrete input | 56 | Module 8 R2 | Read only
| 10057 | Discrete input | 57 | Module 9 Fault | Read only
| 10058 | Discrete input | 58 | Module 9 Motor running | Read only
| 10059 | Discrete input | 59 | Module 9 Ready | Read only
| 10060 | Discrete input | 60 | Module 9 Loaded | Read only
| 10061 | Discrete input | 61 | Module 9 Error | Read only
| 10062 | Discrete input | 62 | Module 9 R1 | Read only
| 10063 | Discrete input | 63 | Module 9 R2 | Read only
| 10064 | Discrete input | 64 | Module 10 Fault | Read only
| 10065 | Discrete input | 65 | Module 10 Motor running | Read only
| 10066 | Discrete input | 66 | Module 10 Ready | Read only
| 10067 | Discrete input | 67 | Module 10 Loaded | Read only
| 10068 | Discrete input | 68 | Module 10 Error | Read only
| 10069 | Discrete input | 69 | Module 10 R1 | Read only
| 10070 | Discrete input | 70 | Module 10 R2 | Read only
| 10071 | Discrete input | 71 | Module 11 Fault | Read only
| 10072 | Discrete input | 72 | Module 11 Motor running | Read only
| 10073 | Discrete input | 73 | Module 11 Ready | Read only
| 10074 | Discrete input | 74 | Module 11 Loaded | Read only
| 10075 | Discrete input | 75 | Module 11 Error | Read only
| 10076 | Discrete input | 76 | Module 11 R1 | Read only
| 10077 | Discrete input | 77 | Module 11 R2 | Read only
| 10078 | Discrete input | 78 | Module 12 Fault | Read only
| 10079 | Discrete input | 79 | Module 12 Motor running | Read only
| 10080 | Discrete input | 80 | Module 12 Ready | Read only
| 10081 | Discrete input | 81 | Module 12 Loaded | Read only
| 10082 | Discrete input | 82 | Module 12 Error | Read only
| 10083 | Discrete input | 83 | Module 12 R1 | Read only
| 10084 | Discrete input | 84 | Module 12 R2 | Read only
| 10085 | Discrete input | 85 | Module 13 Fault | Read only
| 10086 | Discrete input | 86 | Module 13 Motor running | Read only
| 10087 | Discrete input | 87 | Module 13 Ready | Read only
| 10088 | Discrete input | 88 | Module 13 Loaded | Read only
| 10089 | Discrete input | 89 | Module 13 Error | Read only
| 10090 | Discrete input | 90 | Module 13 R1 | Read only
| 10091 | Discrete input | 91 | Module 13 R2 | Read only
| 10092 | Discrete input | 92 | Module 14 Fault | Read only
| 10093 | Discrete input | 93 | Module 14 Motor running | Read only
| 10094 | Discrete input | 94 | Module 14 Ready | Read only
| 10095 | Discrete input | 95 | Module 14 Loaded | Read only
| 10096 | Discrete input | 96 | Module 14 Error | Read only
| 10097 | Discrete input | 97 | Module 14 R1 | Read only
| 10098 | Discrete input | 98 | Module 14 R2 | Read only
| 10099 | Discrete input | 99 | Module 15 Fault | Read only
| 10100 | Discrete input | 100 | Module 15 Motor running | Read only
| 10101 | Discrete input | 101 | Module 15 Ready | Read only
| 10102 | Discrete input | 102 | Module 15 Loaded | Read only
| 10103 | Discrete input | 103 | Module 15 Error | Read only
| 10104 | Discrete input | 104 | Module 15 R1 | Read only
| 10105 | Discrete input | 105 | Module 15 R2 | Read only
| 10106 | Discrete input | 106 | Module 16 Fault | Read only
| 10107 | Discrete input | 107 | Module 16 Motor running | Read only
| 10108 | Discrete input | 108 | Module 16 Ready | Read only
| 10109 | Discrete input | 109 | Module 16 Loaded | Read only
| 10110 | Discrete input | 110 | Module 16 Error | Read only
| 10111 | Discrete input | 111 | Module 16 R1 | Read only
| 10112 | Discrete input | 112 | Module 16 R2 | Read only
| 10113 | Discrete input | 113 | Module 17 S | Read only
| 10114 | Discrete input | 114 | Module 17 M | Read only
| 10115 | Discrete input | 115 | Module 17 B | Read only
| 10116 | Discrete input | 116 | Module 17 L | Read only
| 10117 | Discrete input | 117 | Module 17 Error | Read only
| 10118 | Discrete input | 118 | Module 17 R1 | Read only
| 10119 | Discrete input | 119 | Module 17 R2 | Read only
| 10120 | Discrete input | 120 | Module 18 S | Read only
| 10121 | Discrete input | 121 | Module 18 M | Read only
| 10122 | Discrete input | 122 | Module 18 B | Read only
| 10123 | Discrete input | 123 | Module 18 L | Read only
| 10124 | Discrete input | 124 | Module 18 Error | Read only
| 10125 | Discrete input | 125 | Module 18 R1 | Read only
| 10126 | Discrete input | 126 | Module 18 R2 | Read only
| 10127 | Discrete input | 127 | Module 19 S | Read only
| 10128 | Discrete input | 128 | Module 19 M | Read only
| 10129 | Discrete input | 129 | Module 19 B | Read only
| 10130 | Discrete input | 130 | Module 19 L | Read only
| 10131 | Discrete input | 131 | Module 19 Error | Read only
| 10132 | Discrete input | 132 | Module 19 R1 | Read only
| 10133 | Discrete input | 133 | Module 19 R2 | Read only
| 10134 | Discrete input | 134 | Module 20 S | Read only
| 10135 | Discrete input | 135 | Module 20 M | Read only
| 10136 | Discrete input | 136 | Module 20 B | Read only
| 10137 | Discrete input | 137 | Module 20 L | Read only
| 10138 | Discrete input | 138 | Module 20 Error | Read only
| 10139 | Discrete input | 139 | Module 20 R1 | Read only
| 10140 | Discrete input | 140 | Module 20 R2 | Read only
| 10141 | Discrete input | 141 | Module 21 S | Read only
| 10142 | Discrete input | 142 | Module 21 M | Read only
| 10143 | Discrete input | 143 | Module 21 B | Read only
| 10144 | Discrete input | 144 | Module 21 L | Read only
| 10145 | Discrete input | 145 | Module 21 Error | Read only
| 10146 | Discrete input | 146 | Module 21 R1 | Read only
| 10147 | Discrete input | 147 | Module 21 R2 | Read only
| 10148 | Discrete input | 148 | Module 22 S | Read only
| 10149 | Discrete input | 149 | Module 22 M | Read only
| 10150 | Discrete input | 150 | Module 22 B | Read only
| 10151 | Discrete input | 151 | Module 22 L | Read only
| 10152 | Discrete input | 152 | Module 22 Error | Read only
| 10153 | Discrete input | 153 | Module 22 R1 | Read only
| 10154 | Discrete input | 154 | Module 22 R2 | Read only
| 10155 | Discrete input | 155 | Module 23 S | Read only
| 10156 | Discrete input | 156 | Module 23 M | Read only
| 10157 | Discrete input | 157 | Module 23 B | Read only
| 10158 | Discrete input | 158 | Module 23 L | Read only
| 10159 | Discrete input | 159 | Module 23 Error | Read only
| 10160 | Discrete input | 160 | Module 23 R1 | Read only
| 10161 | Discrete input | 161 | Module 23 R2 | Read only
| 10162 | Discrete input | 162 | Module 24 S | Read only
| 10163 | Discrete input | 163 | Module 24 M | Read only
| 10164 | Discrete input | 164 | Module 24 B | Read only
| 10165 | Discrete input | 165 | Module 24 L | Read only
| 10166 | Discrete input | 166 | Module 24 Error | Read only
| 10167 | Discrete input | 167 | Module 24 R1 | Read only
| 10168 | Discrete input | 168 | Module 24 R2 | Read only
| 10169 | Discrete input | 169 | Module 25 S | Read only | 25
| 10170 | Discrete input | 170 | Module 25 M | Read only | 25
| 10171 | Discrete input | 171 | Module 25 B | Read only | 25
| 10172 | Discrete input | 172 | Module 25 L | Read only | 25
| 10173 | Discrete input | 173 | Module 25 Error | Read only | 25
| 10174 | Discrete input | 174 | Module 25 R1 | Read only | 25
| 10175 | Discrete input | 175 | Module 25 R2 | Read only | 25
| 10176 | Discrete input | 176 | Module 26 S | Read only | 26
| 10177 | Discrete input | 177 | Module 26 M | Read only | 26
| 10178 | Discrete input | 178 | Module 26 B | Read only | 26
| 10179 | Discrete input | 179 | Module 26 L | Read only | 26
| 10180 | Discrete input | 180 | Module 26 Error | Read only | 26
| 10181 | Discrete input | 181 | Module 26 R1 | Read only | 26
| 10182 | Discrete input | 182 | Module 26 R2 | Read only | 26
| 10183 | Discrete input | 183 | Module 27 S | Read only | 27
| 10184 | Discrete input | 184 | Module 27 M | Read only | 27
| 10185 | Discrete input | 185 | Module 27 B | Read only | 27
| 10186 | Discrete input | 186 | Module 27 L | Read only | 27
| 10187 | Discrete input | 187 | Module 27 Error | Read only | 27
| 10188 | Discrete input | 188 | Module 27 R1 | Read only | 27
| 10189 | Discrete input | 189 | Module 27 R2 | Read only | 27
| 10190 | Discrete input | 190 | Module 28 S | Read only | 28
| 10191 | Discrete input | 191 | Module 28 M | Read only | 28
| 10192 | Discrete input | 192 | Module 28 B | Read only | 28
| 10193 | Discrete input | 193 | Module 28 L | Read only | 28
| 10194 | Discrete input | 194 | Module 28 Error | Read only | 28
| 10195 | Discrete input | 195 | Module 28 R1 | Read only | 28
| 10196 | Discrete input | 196 | Module 28 R2 | Read only | 28
| 10197 | Discrete input | 197 | Module 29 S | Read only | 29
| 10198 | Discrete input | 198 | Module 29 M | Read only | 29
| 10199 | Discrete input | 199 | Module 29 B | Read only | 29
| 10200 | Discrete input | 200 | Module 29 L | Read only | 29
| 10201 | Discrete input | 201 | Module 29 Error | Read only | 29
| 10202 | Discrete input | 202 | Module 29 R1 | Read only | 29
| 10203 | Discrete input | 203 | Module 29 R2 | Read only | 29
| 10204 | Discrete input | 204 | Module 30 S | Read only | 30
| 10205 | Discrete input | 205 | Module 30 M | Read only | 30
| 10206 | Discrete input | 206 | Module 30 B | Read only | 30
| 10207 | Discrete input | 207 | Module 30 L | Read only | 30
| 10208 | Discrete input | 208 | Module 30 Error | Read only | 30
| 10209 | Discrete input | 209 | Module 30 R1 | Read only | 30
| 10210 | Discrete input | 210 | Module 30 R2 | Read only | 30
| 10211 | Discrete input | 211 | Module 31 S | Read only | 31
| 10212 | Discrete input | 212 | Module 31 M | Read only | 31
| 10213 | Discrete input | 213 | Module 31 B | Read only | 31
| 10214 | Discrete input | 214 | Module 31 L | Read only | 31
| 10215 | Discrete input | 215 | Module 31 Error | Read only | 31
| 10216 | Discrete input | 216 | Module 31 R1 | Read only | 31
| 10217 | Discrete input | 217 | Module 31 R2 | Read only | 31
| 10218 | Discrete input | 218 | Module 32 S | Read only | 32
| 10219 | Discrete input | 219 | Module 32 M | Read only | 32
| 10220 | Discrete input | 220 | Module 32 B | Read only | 32
| 10221 | Discrete input | 221 | Module 32 L | Read only | 32
| 10222 | Discrete input | 222 | Module 32 Error | Read only | 32
| 10223 | Discrete input | 223 | Module 32 R1 | Read only | 32
| 10224 | Discrete input | 224 | Module 32 R2 | Read only | 32
| 10225 | Discrete input | 225 | Module 33 S | Read only | 33
| 10226 | Discrete input | 226 | Module 33 M | Read only | 33
| 10227 | Discrete input | 227 | Module 33 B | Read only | 33
| 10228 | Discrete input | 228 | Module 33 L | Read only | 33
| 10229 | Discrete input | 229 | Module 33 Error | Read only | 33
| 10230 | Discrete input | 230 | Module 33 R1 | Read only | 33
| 10231 | Discrete input | 231 | Module 33 R2 | Read only | 33
| 10232 | Discrete input | 232 | Module 34 S | Read only | 34
| 10233 | Discrete input | 233 | Module 34 M | Read only | 34
| 10234 | Discrete input | 234 | Module 34 B | Read only | 34
| 10235 | Discrete input | 235 | Module 34 L | Read only | 34
| 10236 | Discrete input | 236 | Module 34 Error | Read only | 34
| 10237 | Discrete input | 237 | Module 34 R1 | Read only | 34
| 10238 | Discrete input | 238 | Module 34 R2 | Read only | 34
| 10239 | Discrete input | 239 | Module 35 S | Read only | 35
| 10240 | Discrete input | 240 | Module 35 M | Read only | 35
| 10241 | Discrete input | 241 | Module 35 B | Read only | 35
| 10242 | Discrete input | 242 | Module 35 L | Read only | 35
| 10243 | Discrete input | 243 | Module 35 Error | Read only | 35
| 10244 | Discrete input | 244 | Module 35 R1 | Read only | 35
| 10245 | Discrete input | 245 | Module 35 R2 | Read only | 35
| 10246 | Discrete input | 246 | Module 36 S | Read only | 36
| 10247 | Discrete input | 247 | Module 36 M | Read only | 36
| 10248 | Discrete input | 248 | Module 36 B | Read only | 36
| 10249 | Discrete input | 249 | Module 36 L | Read only | 36
| 10250 | Discrete input | 250 | Module 36 Error | Read only | 36
| 10251 | Discrete input | 251 | Module 36 R1 | Read only | 36
| 10252 | Discrete input | 252 | Module 36 R2 | Read only | 36
| 10253 | Discrete input | 253 | Module 37 S | Read only | 37
| 10254 | Discrete input | 254 | Module 37 M | Read only | 37
| 10255 | Discrete input | 255 | Module 37 B | Read only | 37
| 10256 | Discrete input | 256 | Module 37 L | Read only | 37
| 10257 | Discrete input | 257 | Module 37 Error | Read only | 37
| 10258 | Discrete input | 258 | Module 37 R1 | Read only | 37
| 10259 | Discrete input | 259 | Module 37 R2 | Read only | 37
| 10260 | Discrete input | 260 | Module 38 S | Read only | 38
| 10261 | Discrete input | 261 | Module 38 M | Read only | 38
| 10262 | Discrete input | 262 | Module 38 B | Read only | 38
| 10263 | Discrete input | 263 | Module 38 L | Read only | 38
| 10264 | Discrete input | 264 | Module 38 Error | Read only | 38
| 10265 | Discrete input | 265 | Module 38 R1 | Read only | 38
| 10266 | Discrete input | 266 | Module 38 R2 | Read only | 38
| 10267 | Discrete input | 267 | Module 39 S | Read only | 39
| 10268 | Discrete input | 268 | Module 39 M | Read only | 39
| 10269 | Discrete input | 269 | Module 39 B | Read only | 39
| 10270 | Discrete input | 270 | Module 39 L | Read only | 39
| 10271 | Discrete input | 271 | Module 39 Error | Read only | 39
| 10272 | Discrete input | 272 | Module 39 R1 | Read only | 39
| 10273 | Discrete input | 273 | Module 39 R2 | Read only | 39
| 10274 | Discrete input | 274 | Module 40 S | Read only | 40
| 10275 | Discrete input | 275 | Module 40 M | Read only | 40
| 10276 | Discrete input | 276 | Module 40 B | Read only | 40
| 10277 | Discrete input | 277 | Module 40 L | Read only | 40
| 10278 | Discrete input | 278 | Module 40 Error | Read only | 40
| 10279 | Discrete input | 279 | Module 40 R1 | Read only | 40
| 10280 | Discrete input | 280 | Module 40 R2 | Read only | 40
| 10281 | Discrete input | 281 | Module 41 S | Read only | 41
| 10282 | Discrete input | 282 | Module 41 M | Read only | 41
| 10283 | Discrete input | 283 | Module 41 B | Read only | 41
| 10284 | Discrete input | 284 | Module 41 L | Read only | 41
| 10285 | Discrete input | 285 | Module 41 Error | Read only | 41
| 10286 | Discrete input | 286 | Module 41 R1 | Read only | 41
| 10287 | Discrete input | 287 | Module 41 R2 | Read only | 41
| 10288 | Discrete input | 288 | Module 42 S | Read only | 42
| 10289 | Discrete input | 289 | Module 42 M | Read only | 42
| 10290 | Discrete input | 290 | Module 42 B | Read only | 42
| 10291 | Discrete input | 291 | Module 42 L | Read only | 42
| 10292 | Discrete input | 292 | Module 42 Error | Read only | 42
| 10293 | Discrete input | 293 | Module 42 R1 | Read only | 42
| 10294 | Discrete input | 294 | Module 42 R2 | Read only | 42
| 10295 | Discrete input | 295 | Module 43 S | Read only | 43
| 10296 | Discrete input | 296 | Module 43 M | Read only | 43
| 10297 | Discrete input | 297 | Module 43 B | Read only | 43
| 10298 | Discrete input | 298 | Module 43 L | Read only | 43
| 10299 | Discrete input | 299 | Module 43 Error | Read only | 43
| 10300 | Discrete input | 300 | Module 43 R1 | Read only | 43
| 10301 | Discrete input | 301 | Module 43 R2 | Read only | 43
| 10302 | Discrete input | 302 | Module 44 S | Read only | 44
| 10303 | Discrete input | 303 | Module 44 M | Read only | 44
| 10304 | Discrete input | 304 | Module 44 B | Read only | 44
| 10305 | Discrete input | 305 | Module 44 L | Read only | 44
| 10306 | Discrete input | 306 | Module 44 Error | Read only | 44
| 10307 | Discrete input | 307 | Module 44 R1 | Read only | 44
| 10308 | Discrete input | 308 | Module 44 R2 | Read only | 44
| 10309 | Discrete input | 309 | Module 45 S | Read only | 45
| 10310 | Discrete input | 310 | Module 45 M | Read only | 45
| 10311 | Discrete input | 311 | Module 45 B | Read only | 45
| 10312 | Discrete input | 312 | Module 45 L | Read only | 45
| 10313 | Discrete input | 313 | Module 45 Error | Read only | 45
| 10314 | Discrete input | 314 | Module 45 R1 | Read only | 45
| 10315 | Discrete input | 315 | Module 45 R2 | Read only | 45
| 10316 | Discrete input | 316 | Module 46 S | Read only | 46
| 10317 | Discrete input | 317 | Module 46 M | Read only | 46
| 10318 | Discrete input | 318 | Module 46 B | Read only | 46
| 10319 | Discrete input | 319 | Module 46 L | Read only | 46
| 10320 | Discrete input | 320 | Module 46 Error | Read only | 46
| 10321 | Discrete input | 321 | Module 46 R1 | Read only | 46
| 10322 | Discrete input | 322 | Module 46 R2 | Read only | 46
| 10323 | Discrete input | 323 | Module 47 S | Read only | 47
| 10324 | Discrete input | 324 | Module 47 M | Read only | 47
| 10325 | Discrete input | 325 | Module 47 B | Read only | 47
| 10326 | Discrete input | 326 | Module 47 L | Read only | 47
| 10327 | Discrete input | 327 | Module 47 Error | Read only | 47
| 10328 | Discrete input | 328 | Module 47 R1 | Read only | 47
| 10329 | Discrete input | 329 | Module 47 R2 | Read only | 47
| 10330 | Discrete input | 330 | Module 48 S | Read only | 48
| 10331 | Discrete input | 331 | Module 48 M | Read only | 48
| 10332 | Discrete input | 332 | Module 48 B | Read only | 48
| 10333 | Discrete input | 333 | Module 48 L | Read only | 48
| 10334 | Discrete input | 334 | Module 48 Error | Read only | 48
| 10335 | Discrete input | 335 | Module 48 R1 | Read only | 48
| 10336 | Discrete input | 336 | Module 48 R2 | Read only | 48
| 10337 | Discrete input | 337 | Module 49 S | Read only | 49
| 10338 | Discrete input | 338 | Module 49 M | Read only | 49
| 10339 | Discrete input | 339 | Module 49 B | Read only | 49
| 10340 | Discrete input | 340 | Module 49 L | Read only | 49
| 10341 | Discrete input | 341 | Module 49 Error | Read only | 49
| 10342 | Discrete input | 342 | Module 49 R1 | Read only | 49
| 10343 | Discrete input | 343 | Module 49 R2 | Read only | 49
| 10344 | Discrete input | 344 | Module 50 S | Read only | 50
| 10345 | Discrete input | 345 | Module 50 M | Read only | 50
| 10346 | Discrete input | 346 | Module 50 B | Read only | 50
| 10347 | Discrete input | 347 | Module 50 L | Read only | 50
| 10348 | Discrete input | 348 | Module 50 Error | Read only | 50
| 10349 | Discrete input | 349 | Module 50 R1 | Read only | 50
| 10350 | Discrete input | 350 | Module 50 R2 | Read only | 50
| 10351 | Discrete input | 351 | Module 51 S | Read only | 51
| 10352 | Discrete input | 352 | Module 51 M | Read only | 51
| 10353 | Discrete input | 353 | Module 51 B | Read only | 51
| 10354 | Discrete input | 354 | Module 51 L | Read only | 51
| 10355 | Discrete input | 355 | Module 51 Error | Read only | 51
| 10356 | Discrete input | 356 | Module 51 R1 | Read only | 51
| 10357 | Discrete input | 357 | Module 51 R2 | Read only | 51
| 10358 | Discrete input | 358 | Module 52 S | Read only | 52
| 10359 | Discrete input | 359 | Module 52 M | Read only | 52
| 10360 | Discrete input | 360 | Module 52 B | Read only | 52
| 10361 | Discrete input | 361 | Module 52 L | Read only | 52
| 10362 | Discrete input | 362 | Module 52 Error | Read only | 52
| 10363 | Discrete input | 363 | Module 52 R1 | Read only | 52
| 10364 | Discrete input | 364 | Module 52 R2 | Read only | 52
| 10365 | Discrete input | 365 | Module 53 S | Read only | 53
| 10366 | Discrete input | 366 | Module 53 M | Read only | 53
| 10367 | Discrete input | 367 | Module 53 B | Read only | 53
| 10368 | Discrete input | 368 | Module 53 L | Read only | 53
| 10369 | Discrete input | 369 | Module 53 Error | Read only | 53
| 10370 | Discrete input | 370 | Module 53 R1 | Read only | 53
| 10371 | Discrete input | 371 | Module 53 R2 | Read only | 53
| 10372 | Discrete input | 372 | Module 54 S | Read only | 54
| 10373 | Discrete input | 373 | Module 54 M | Read only | 54
| 10374 | Discrete input | 374 | Module 54 B | Read only | 54
| 10375 | Discrete input | 375 | Module 54 L | Read only | 54
| 10376 | Discrete input | 376 | Module 54 Error | Read only | 54
| 10377 | Discrete input | 377 | Module 54 R1 | Read only | 54
| 10378 | Discrete input | 378 | Module 54 R2 | Read only | 54
| 10379 | Discrete input | 379 | Module 55 S | Read only | 55
| 10380 | Discrete input | 380 | Module 55 M | Read only | 55
| 10381 | Discrete input | 381 | Module 55 B | Read only | 55
| 10382 | Discrete input | 382 | Module 55 L | Read only | 55
| 10383 | Discrete input | 383 | Module 55 Error | Read only | 55
| 10384 | Discrete input | 384 | Module 55 R1 | Read only | 55
| 10385 | Discrete input | 385 | Module 55 R2 | Read only | 55
| 10386 | Discrete input | 386 | Module 56 S | Read only | 56
| 10387 | Discrete input | 387 | Module 56 M | Read only | 56
| 10388 | Discrete input | 388 | Module 56 B | Read only | 56
| 10389 | Discrete input | 389 | Module 56 L | Read only | 56
| 10390 | Discrete input | 390 | Module 56 Error | Read only | 56
| 10391 | Discrete input | 391 | Module 56 R1 | Read only | 56
| 10392 | Discrete input | 392 | Module 56 R2 | Read only | 56
| 10393 | Discrete input | 393 | Module 57 S | Read only | 57
| 10394 | Discrete input | 394 | Module 57 M | Read only | 57
| 10395 | Discrete input | 395 | Module 57 B | Read only | 57
| 10396 | Discrete input | 396 | Module 57 L | Read only | 57
| 10397 | Discrete input | 397 | Module 57 Error | Read only | 57
| 10398 | Discrete input | 398 | Module 57 R1 | Read only | 57
| 10399 | Discrete input | 399 | Module 57 R2 | Read only | 57
| 10400 | Discrete input | 400 | Module 58 S | Read only | 58
| 10401 | Discrete input | 401 | Module 58 M | Read only | 58
| 10402 | Discrete input | 402 | Module 58 B | Read only | 58
| 10403 | Discrete input | 403 | Module 58 L | Read only | 58
| 10404 | Discrete input | 404 | Module 58 Error | Read only | 58
| 10405 | Discrete input | 405 | Module 58 R1 | Read only | 58
| 10406 | Discrete input | 406 | Module 58 R2 | Read only | 58
| 10407 | Discrete input | 407 | Module 59 S | Read only | 59
| 10408 | Discrete input | 408 | Module 59 M | Read only | 59
| 10409 | Discrete input | 409 | Module 59 B | Read only | 59
| 10410 | Discrete input | 410 | Module 59 L | Read only | 59
| 10411 | Discrete input | 411 | Module 59 Error | Read only | 59
| 10412 | Discrete input | 412 | Module 59 R1 | Read only | 59
| 10413 | Discrete input | 413 | Module 59 R2 | Read only | 59
| 10414 | Discrete input | 414 | Module 60 S | Read only | 60
| 10415 | Discrete input | 415 | Module 60 M | Read only | 60
| 10416 | Discrete input | 416 | Module 60 B | Read only | 60
| 10417 | Discrete input | 417 | Module 60 L | Read only | 60
| 10418 | Discrete input | 418 | Module 60 Error | Read only | 60
| 10419 | Discrete input | 419 | Module 60 R1 | Read only | 60
| 10420 | Discrete input | 420 | Module 60 R2 | Read only | 60
| 10421 | Discrete input | 421 | Module 61 S | Read only | 61
| 10422 | Discrete input | 422 | Module 61 M | Read only | 61
| 10423 | Discrete input | 423 | Module 61 B | Read only | 61
| 10424 | Discrete input | 424 | Module 61 L | Read only | 61
| 10425 | Discrete input | 425 | Module 61 Error | Read only | 61
| 10426 | Discrete input | 426 | Module 61 R1 | Read only | 61
| 10427 | Discrete input | 427 | Module 61 R2 | Read only | 61
| 10428 | Discrete input | 428 | Module 62 S | Read only | 62
| 10429 | Discrete input | 429 | Module 62 M | Read only | 62
| 10430 | Discrete input | 430 | Module 62 B | Read only | 62
| 10431 | Discrete input | 431 | Module 62 L | Read only | 62
| 10432 | Discrete input | 432 | Module 62 Error | Read only | 62
| 10433 | Discrete input | 433 | Module 62 R1 | Read only | 62
| 10434 | Discrete input | 434 | Module 62 R2 | Read only | 62
| 10435 | Discrete input | 435 | Module 63 S | Read only | 63
| 10436 | Discrete input | 436 | Module 63 M | Read only | 63
| 10437 | Discrete input | 437 | Module 63 B | Read only | 63
| 10438 | Discrete input | 438 | Module 63 L | Read only | 63
| 10439 | Discrete input | 439 | Module 63 Error | Read only | 63
| 10440 | Discrete input | 440 | Module 63 R1 | Read only | 63
| 10441 | Discrete input | 441 | Module 63 R2 | Read only | 63
| 10442 | Discrete input | 442 | Module 64 S | Read only | 64
| 10443 | Discrete input | 443 | Module 64 M | Read only | 64
| 10444 | Discrete input | 444 | Module 64 B | Read only | 64
| 10445 | Discrete input | 445 | Module 64 L | Read only | 64
| 10446 | Discrete input | 446 | Module 64 Error | Read only | 64
| 10447 | Discrete input | 447 | Module 64 R1 | Read only | 64
| 10448 | Discrete input | 448 | Module 64 R2 | Read only | 64
| 10460 | Discrete input | 460 | START | Read only
| 10461 | Discrete input | 461 | MANUAL | Read only
| 10462 | Discrete input | 462 | CLOCK | Read only
| 10463 | Discrete input | 463 | PROGRAM | Read only
1

## Holding Register
Data type 16bit integer
Modbus address | Type | Register no | Control | Mode
10010 | Holding register | 9 | Ranking profile | Read only
10011 | Holding register | 10 | Pressure profile | Read only
10012 | Holding register | 11 | Time switch profile | Read only
10013 | Simple registers | 13 | Pressure profile (integer) | Write only function 0x06 | Values ​​1 - 4 (EASY 1-2)
10014 | Simple registers | 14 | Ranking profile (integer) | Write only function 0x06 | Values ​​1 - 4
10015 | Simple registers | 15 | Key switch (integer) **** | Write only function 0x06
Modbus address | Type | Register no | Control | Mode | 32bit int
10020 | Holding register | 20 | Runtime K1 | Read only
10021 |  | 21 |  |  | Values ​​rounded in hours
10022 | Holding register | 22 | Load time K1 | Read only
10023 |  | 23
10024 | Holding register | 24 | Runtime K2 | Read only
10025 |  | 25
10026 | Holding register | 26 | Load time K2 | Read only
10027 |  | 27
10028 | Holding register | 28 | Runtime K3 | Read only
10029 |  | 29
10030 | Holding register | 30 | Load time K3 | Read only
10031 |  | 31
10032 | Holding register | 32 | Runtime K4 | Read only
10033 |  | 33
10034 | Holding register | 34 | Load time K4 | Read only
10035 |  | 35
10036 | Holding register | 36 | Runtime K5 | Read only
10037 |  | 37
10038 | Holding register | 38 | Load time K5 | Read only
10039 |  | 39
10040 | Holding register | 40 | Runtime K6 | Read only
10041 |  | 41
10042 | Holding register | 42 | Load time K6 | Read only
10043 |  | 43
10044 | Holding register | 44 | Runtime K7 | Read only
10045 |  | 45
10046 | Holding register | 46 | Load time K7 | Read only
10047 |  | 47
10048 | Holding register | 48 | Runtime K8 | Read only
10049 |  | 49
10050 | Holding register | 50 | Load time K8 | Read only
10051 |  | 51
10052 | Holding register | 52 | Runtime K9 | Read only
10053 |  | 53
10054 | Holding register | 54 | Load time K9 | Read only
10055 |  | 55
10056 | Holding register | 56 | Runtime K10 | Read only
10057 |  | 57
10058 | Holding register | 58 | Load time K10 | Read only
10059 |  | 59
10060 | Holding register | 60 | Runtime K11 | Read only
10061 |  | 61
10062 | Holding register | 62 | Load time K11 | Read only
10063 |  | 63
10064 | Holding register | 64 | Runtime K12 | Read only
10065 |  | 65
10066 | Holding register | 66 | Load time K12 | Read only
10067 |  | 67
10068 | Holding register | 68 | Runtime K13 | Read only
10069 |  | 69
10070 | Holding register | 70 | Load time K13 | Read only
10071 |  | 71
10072 | Holding register | 72 | Runtime K14 | Read only
10073 |  | 73
10074 | Holding register | 74 | Load time K14 | Read only
10075 |  | 75
10076 | Holding register | 76 | Runtime K15 | Read only
10077 |  | 77
10078 | Holding register | 78 | Load time K15 | Read only
10079 |  | 79
10080 | Holding register | 80 | Runtime K16 | Read only
10081 |  | 81
10082 | Holding register | 82 | Load time K16 | Read only
10083 |  | 83
10084 | Holding register | 84 | Runtime K17 | Read only
10085 |  | 85
10086 | Holding register | 86 | Load time K17 | Read only
10087 |  | 87
10088 | Holding register | 88 | Runtime K18 | Read only
10089 |  | 89
10090 | Holding register | 90 | Load time K18 | Read only
10091 |  | 91
10092 | Holding register | 92 | Runtime K19 | Read only
10093 |  | 93
10094 | Holding register | 94 | Load time K19 | Read only
10095 |  | 95
10096 | Holding register | 96 | Runtime K20 | Read only
10097 |  | 97
10098 | Holding register | 98 | Load time K20 | Read only
10099 |  | 99
10100 | Holding register | 100 | Runtime K21 | Read only
10101 |  | 101
10102 | Holding register | 102 | Load time K21 | Read only
10103 |  | 103
10104 | Holding register | 104 | Runtime K22 | Read only
10105 |  | 105
10106 | Holding register | 106 | Load time K22 | Read only
10107 |  | 107
10108 | Holding register | 108 | Runtime K23 | Read only
10109 |  | 109
10110 | Holding register | 110 | Load time K23 | Read only
10111 |  | 111
10112 | Holding register | 112 | Runtime K24 | Read only
10113 |  | 113
10114 | Holding register | 114 | Load time K24 | Read only
10115 |  | 115
10116 | Holding register | 116 | Runtime K25 | Read only
10117 |  | 117
10118 | Holding register | 118 | Load time K25 | Read only
10119 |  | 119
10120 | Holding register | 120 | Runtime K26 | Read only
10121 |  | 121
10122 | Holding register | 122 | Load time K26 | Read only
10123 |  | 123
10124 | Holding register | 124 | Runtime K27 | Read only
10125 |  | 125
10126 | Holding register | 126 | Load time K27 | Read only
10127 |  | 127
10128 | Holding register | 128 | Runtime K28 | Read only
10129 |  | 129
10130 | Holding register | 130 | Load time K28 | Read only
10131 |  | 131
10132 | Holding register | 132 | Runtime K29 | Read only
10133 |  | 133
10134 | Holding register | 134 | Load time K29 | Read only
10135 |  | 135
10136 | Holding register | 136 | Runtime K30 | Read only
10137 |  | 137
10138 | Holding register | 138 | Load time K30 | Read only
10139 |  | 139
10140 | Holding register | 140 | Runtime K31 | Read only
10141 |  | 141
10142 | Holding register | 142 | Load time K31 | Read only
10143 |  | 143
10144 | Holding register | 144 | Runtime K32 | Read only
10145 |  | 145
10146 | Holding register | 146 | Load time K32 | Read only
10147 |  | 147
SIS counter if AddOn installed. |  |  |  |  | 32bit float
10200 | Holding register | 200 | Counter 1 | Read only | AE1
10201 |  | 201
10202 | Holding register | 202 | Counter 2 | Read only | AE2
10203 |  | 203
10204 | Holding register | 204 | Counter 3 | Read only | AE3
10205 |  | 205
10206 | Holding register | 206 | Counter 4 | Read only | AE4
10207 |  | 207
10208 | Holding register | 208 | Counter 5 | Read only | AE 5 K1 m3
10209 |  | 209
10210 | Holding register | 210 | Counter 6 | Read only | AE 6 K1 kWh
10211 |  | 211
10212 | Holding register | 212 | Counter 7 | Read only | AE 7 K2 m3
10213 |  | 213
10214 | Holding register | 214 | Counter 8 | Read only | AE 8 K2 kWh
10215 |  | 215
10216 | Holding register | 216 | Counter 9 | Read only | AE 9 K3 m3
10217 |  | 217
10218 | Holding register | 218 | Counter 10 | Read only | AE 10 K3 kWh
10219 |  | 219
10220 | Holding register | 220 | Counter 11 | Read only | AE 11 K4 m3
10221 |  | 221
10222 | Holding register | 222 | Counter 12 | Read only | AE 12 K4 kWh
10223 |  | 223
10224 | Holding register | 224 | Counter 13 | Read only | AE 13 K5 m3
10225 |  | 225
10226 | Holding register | 226 | Counter 14 | Read only | AE 14 K5 kWh
10227 |  | 227
10228 | Holding register | 228 | Counter 15 | Read only | AE 15 K6 m3
10229 |  | 229
10230 | Holding register | 230 | Counter 16 | Read only | AE 16 K6 kWh
10231 |  | 231
10232 | Holding register | 232 | Counter 17 | Read only | AE 17 K7 m3
10233 |  | 233
10234 | Holding register | 234 | Counter 18 | Read only | AE 18 K7 kWh
10235 |  | 235
10236 | Holding register | 236 | Counter 19 | Read only | AE 19 K8 m3
10237 |  | 237
10238 | Holding register | 238 | Counter 20 | Read only | AE 20 K8 kWh
10239 |  | 239
10240 | Holding register | 240 | Counter 21 | Read only | AE 21 K9 m3
10241 |  | 241
10242 | Holding register | 242 | Counter 22 | Read only | AE 22 K9 kWh
10243 |  | 243
10244 | Holding register | 244 | Counter 23 | Read only | AE 23 K10 m3
10245 |  | 245
10246 | Holding register | 246 | Counter 24 | Read only | AE 24 K10 kWh
10247 |  | 247
10248 | Holding register | 248 | Counter 25 | Read only | AE 25 K11 m3
10249 |  | 249
10250 | Holding register | 250 | Counter 26 | Read only | AE 26 K11 kWh
10251 |  | 251
10252 | Holding register | 252 | Counter 27 | Read only | AE 27 K12 m3
10253 |  | 253
10254 | Holding register | 254 | Counter 28 | Read only | AE 28 K12 kWh
10255 |  | 255
10256 | Holding register | 256 | Counter 29 | Read only | AE 29 K13 m3
10257 |  | 257
10258 | Holding register | 258 | Counter 30 | Read only | AE 30 K13 kWh
10259 |  | 259
10260 | Holding register | 260 | Counter 31 | Read only | AE 31 K14 m3
10261 |  | 261
10262 | Holding register | 262 | Counter 32 | Read only | AE 32 K14 kWh
10263 |  | 263
10264 | Holding register | 264 | Counter 33 | Read only | AE 33 K15 m3
10265 |  | 265
10266 | Holding register | 266 | Counter 34 | Read only | AE 34 K15 kWh
10267 |  | 267
10268 | Holding register | 268 | Counter 35 | Read only | AE 35 K16 m3
10269 |  | 269
10270 | Holding register | 270 | Counter 36 | Read only | AE 36 K16 kWh
10271 |  | 271
10272 | Holding register | 272 | Counter 37 | Read only | AE 37 Module 17 AE1 (CN: K17 m3)
10273 |  | 273
10274 | Holding register | 274 | Counter 38 | Read only | AE 38 Module 17 AE2 (CN: K17 kWh)
10275 |  | 275
10276 | Holding register | 276 | Counter 39 | Read only | AE 39 Module 18 AE1 (CN: K18 m3)
10277 |  | 277
10278 | Holding register | 278 | Counter 40 | Read only | AE 40 module 18 AE2 (CN: K18 kWh)
10279 |  | 279
10280 | Holding register | 280 | Counter 41 | Read only | AE 41 Module 19 AE1 (CN: K19 m3)
10281 |  | 281
10282 | Holding register | 282 | Counter 42 | Read only | AE 42 Module 19 AE2 (CN: K19 kWh)
10283 |  | 283
10284 | Holding register | 284 | Counter 43 | Read only | AE 43 Module 20 AE1 (CN: K20 m3)
10285 |  | 285
10286 | Holding register | 286 | Counter 44 | Read only | AE 44 Module 20 AE2 (CN: K20 kWh)
10287 |  | 287
10288 | Holding register | 288 | Counter 45 | Read only | AE 45 Module 21 AE1 (CN: K21 m3)
10289 |  | 289
10290 | Holding register | 290 | Counter 46 | Read only | AE 46 Module 21 AE2 (CN: K21 kWh)
10291 |  | 291
10292 | Holding register | 292 | Counter 47 | Read only | AE 47 Module 22 AE1 (CN: K22 m3)
10293 |  | 293
10294 | Holding register | 294 | Counter 48 | Read only | AE 48 Module 22 AE2 (CN: K22 kWh)
10295 |  | 295
10296 | Holding register | 296 | Counter 49 | Read only | AE 49 Module 23 AE1 (CN: K23 m3)
10297 |  | 297
10298 | Holding register | 298 | Counter 50 | Read only | AE 50 module 23 AE2 (CN: K23 kWh)
10299 |  | 299
10300 | Holding register | 300 | Counter 51 | Read only | AE 51 Module 24 AE1 (CN: K24 m3)
10301 |  | 301
10302 | Holding register | 302 | Counter 52 | Read only | AE 52 Module 24 AE2 (CN: K24 kWh)
10303 |  | 303
10304 | Holding register | 304 | Counter 53 | Read only | AE 53 Module 25 AE1 (CN: K25 m3)
10305 |  | 305
10306 | Holding register | 306 | Counter 54 | Read only | AE 54 Module 25 AE2 (CN: K25 kWh)
10307 |  | 307
10308 | Holding register | 308 | Counter 55 | Read only | AE 55 Module 26 AE1 (CN: K26 m3)
10309 |  | 309
10310 | Holding register | 310 | Counter 56 | Read only | AE 56 Module 26 AE2 (CN: K26 kWh)
10311 |  | 311
10312 | Holding register | 312 | Counter 57 | Read only | AE 57 Module 27 AE1 (CN: K27 m3)
10313 |  | 313
10314 | Holding register | 314 | Counter 58 | Read only | AE 58 Module 27 AE2 (CN: K27 kWh)
10315 |  | 315
10316 | Holding register | 316 | Counter 59 | Read only | AE 59 Module 28 AE1 (CN: K28 m3)
10317 |  | 317
10318 | Holding register | 318 | Counter 60 | Read only | AE 60 module 28 AE2 (CN: K28 kWh)
10319 |  | 319
10320 | Holding register | 320 | Counter 61 | Read only | AE 61 Module 29 AE1 (CN: K29 m3)
10321 |  | 321
10322 | Holding register | 322 | Counter 62 | Read only | AE 62 Module 29 AE2 (CN: K29 kWh)
10323 |  | 323
10324 | Holding register | 324 | Counter 63 | Read only | AE 63 Module 30 AE1 (CN: K30 m3)
10325 |  | 325
10326 | Holding register | 326 | Counter 64 | Read only | AE 64 module 30 AE2 (CN: K30 kWh)
10327 |  | 327
10328 | Holding register | 328 | Counter 65 | Read only | AE 65 Module 31 AE1 (CN: K31 m3)
10329 |  | 329
10330 | Holding register | 330 | Counter 66 | Read only | AE 66 Module 31 AE2 (CN: K31 kWh)
10331 |  | 331
10332 | Holding register | 332 | Counter 67 | Read only | AE 67 Module 32 AE1 (CN: K32 m3)
10333 |  | 333
10334 | Holding register | 334 | Counter 68 | Read only | AE 68 Module 32 AE2 (CN: K32 kWh)
10335 |  | 335
10336 | Holding register | 336 | Counter 69 | Read only | AE 69 Module 33 AE1
10337 |  | 337
10338 | Holding register | 338 | Counter 70 | Read only | AE 70 Module 33 AE2
10339 |  | 339
10340 | Holding register | 340 | Counter 71 | Read only | AE 71 Module 34 AE1
10341 |  | 341
10342 | Holding register | 342 | Counter 72 | Read only | AE 72 Module 34 AE2
10343 |  | 343
10344 | Holding register | 344 | Counter 73 | Read only | AE 73 Module 35 AE1
10345 |  | 345
10346 | Holding register | 346 | Counter 74 | Read only | AE 74 Module 35 AE2
10347 |  | 347
10348 | Holding register | 348 | Counter 75 | Read only | AE 75 Module 36 AE1
10349 |  | 349
10350 | Holding register | 350 | Counter 76 | Read only | AE 76 Module 36 AE2
10351 |  | 351
10352 | Holding register | 352 | Counter 77 | Read only | AE 77 Module 37 AE1
10353 |  | 353
10354 | Holding register | 354 | Counter 78 | Read only | AE 78 Module 37 AE2
10355 |  | 355
10356 | Holding register | 356 | Counter 79 | Read only | AE 79 Module 38 AE1
10357 |  | 357
10358 | Holding register | 358 | Counter 80 | Read only | AE 80 Module 38 AE2
10359 |  | 359
10360 | Holding register | 360 | Counter 81 | Read only | AE 81 Module 39 AE1
10361 |  | 361
10362 | Holding register | 362 | Counter 82 | Read only | AE 82 Module 39 AE2
10363 |  | 363
10364 | Holding register | 364 | Counter 83 | Read only | AE 83 Module 40 AE1
10365 |  | 365
10366 | Holding register | 366 | Counter 84 | Read only | AE 84 Module 40 AE2
10367 |  | 367
10368 | Holding register | 368 | Counter 85 | Read only | AE 85 Module 41 AE1
10369 |  | 369
10370 | Holding register | 370 | Counter 86 | Read only | AE 86 Module 41 AE2
10371 |  | 371
10372 | Holding register | 372 | Counter 87 | Read only | AE 87 Module 42 AE1
10373 |  | 373
10374 | Holding register | 374 | Counter 88 | Read only | AE 88 Module 42 AE2
10375 |  | 375
10376 | Holding register | 376 | Counter 89 | Read only | AE 89 Module 43 AE1
10377 |  | 377
10378 | Holding register | 378 | Counter 90 | Read only | AE 90 Module 43 AE2
10379 |  | 379
10380 | Holding register | 380 | Counter 91 | Read only | AE 91 Module 44 AE1
10381 |  | 381
10382 | Holding register | 382 | Counter 92 | Read only | AE 92 Module 44 AE2
10383 |  | 383
10384 | Holding register | 384 | Counter 93 | Read only | AE 93 Module 45 AE1
10385 |  | 385
10386 | Holding register | 386 | Counter 94 | Read only | AE 94 Module 45 AE2
10387 |  | 387
10388 | Holding register | 388 | Counter 95 | Read only | AE 95 Module 46 AE1
10389 |  | 389
10390 | Holding register | 390 | Counter 96 | Read only | AE 96 Module 46 AE2
10391 |  | 391
10392 | Holding register | 392 | Counter 97 | Read only | AE 97 Module 47 AE1
10393 |  | 393
10394 | Holding register | 394 | Counter 98 | Read only | AE 98 Module 47 AE2
10395 |  | 395
10396 | Holding register | 396 | Counter 99 | Read only | AE 99 Module 48 AE1
10397 |  | 397
10398 | Holding register | 398 | Counter 100 | Read only | AE 100 module 48 AE2
10399 |  | 399
10400 | Holding register | 400 | Counter 101 | Read only | AE 101 Module 49 AE1
10401 |  | 401
10402 | Holding register | 402 | Counter 102 | Read only | AE 102 Module 49 AE2
10403 |  | 403
10404 | Holding register | 404 | Counter 103 | Read only | AE 103 Module 50 AE1
10405 |  | 405
10406 | Holding register | 406 | Counter 104 | Read only | AE 104 Module 50 AE2
10407 |  | 407
10408 | Holding register | 408 | Counter 105 | Read only | AE 105 Module 51 AE1
10409 |  | 409
10410 | Holding register | 410 | Counter 106 | Read only | AE 106 Module 51 AE2
10411 |  | 411
10412 | Holding register | 412 | Counter 107 | Read only | AE 107 Module 52 AE1
10413 |  | 413
10414 | Holding register | 414 | Counter 108 | Read only | AE 108 Module 52 AE2
10415 |  | 415
10416 | Holding register | 416 | Counter 109 | Read only | AE 109 Module 53 AE1
10417 |  | 417
10418 | Holding register | 418 | Counter 110 | Read only | AE 110 Module 53 AE2
10419 |  | 419
10420 | Holding register | 420 | Counter 111 | Read only | AE 111 Module 54 AE1
10421 |  | 421
10422 | Holding register | 422 | Counter 112 | Read only | AE 112 Module 54 AE2
10423 |  | 423
10424 | Holding register | 424 | Counter 113 | Read only | AE 113 Module 55 AE1
10425 |  | 425
10426 | Holding register | 426 | Counter 114 | Read only | AE 114 Module 55 AE2
10427 |  | 427
10428 | Holding register | 428 | Counter 115 | Read only | AE 115 Module 56 AE1
10429 |  | 429
10430 | Holding register | 430 | Counter 116 | Read only | AE 116 Module 56 AE2
10431 |  | 431
10432 | Holding register | 432 | Counter 117 | Read only | AE 117 Module 57 AE1
10433 |  | 433
10434 | Holding register | 434 | Counter 118 | Read only | AE 118 Module 57 AE2
10435 |  | 435
10436 | Holding register | 436 | Counter 119 | Read only | AE 119 Module 58 AE1
10437 |  | 437
10438 | Holding register | 438 | Counter 120 | Read only | AE 120 module 58 AE2
10439 |  | 439
10440 | Holding register | 440 | Counter 121 | Read only | AE 121 Module 59 AE1
10441 |  | 441
10442 | Holding register | 442 | Counter 122 | Read only | AE 122 Module 59 AE2
10443 |  | 443
10444 | Holding register | 444 | Counter 123 | Read only | AE 123 Module 60 AE1
10445 |  | 445
10446 | Holding register | 446 | Counter 124 | Read only | AE 124 module 60 AE2
10447 |  | 447
10448 | Holding register | 448 | Counter 125 | Read only | AE 125 Module 61 AE1
10449 |  | 449
10450 | Holding register | 450 | Counter 126 | Read only | AE 126 Module 61 AE2
10451 |  | 451
10452 | Holding register | 452 | Counter 127 | Read only | AE 127 Module 62 AE1
10453 |  | 453
10454 | Holding register | 454 | Counter 128 | Read only | AE 128 Module 62 AE2
10455 |  | 455
10456 | Holding register | 456 | Counter 129 | Read only | AE 129 Module 63 AE1
10457 |  | 457
10458 | Holding register | 458 | Counter 130 | Read only | AE 130 Module 63 AE2
10459 |  | 459
10460 | Holding register | 460 | Counter 131 | Read only | AE 131 Module 64 AE1
10461 |  | 461
10462 | Holding register | 462 | Counter 132 | Read only | AE 132 Module 64 AE2
10463 |  | 463
10601 | Holding register | 601 | Module 1 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10602 | Holding register | 602 | Module2 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10603 | Holding register | 603 | Module3 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10604 | Holding register | 604 | Module4 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10605 | Holding register | 605 | Module5 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10606 | Holding register | 606 | Module6 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10607 | Holding register | 607 | Module7 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10608 | Holding register | 608 | Modul8 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10609 | Holding register | 609 | Module9 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10610 | Holding register | 610 | Module 10 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10611 | Holding register | 611 | Module 11 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10612 | Holding register | 612 | Module12 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10613 | Holding register | 613 | Module 13 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10614 | Holding register | 614 | Module14 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10615 | Holding register | 615 | Module 15 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10616 | Holding register | 616 | Module16 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10617 | Holding register | 617 | Module 17 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10618 | Holding register | 618 | Module18 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10619 | Holding register | 619 | Module 19 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10620 | Holding register | 620 | Module20 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10621 | Holding register | 621 | Module21Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10622 | Holding register | 622 | Module22 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10623 | Holding register | 623 | Module23 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10624 | Holding register | 624 | Modul24 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10625 | Holding register | 625 | Module25 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10626 | Holding register | 626 | Modul26 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10627 | Holding register | 627 | Module27 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10628 | Holding register | 628 | Module28 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10629 | Holding register | 629 | Module29 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10630 | Holding register | 630 | Module30 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10631 | Holding register | 631 | Module31 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10632 | Holding register | 632 | Module32 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10633 | Holding register | 633 | Module33 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10634 | Holding register | 634 | Module34 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10635 | Holding register | 635 | Module35 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10636 | Holding register | 636 | Module36 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10637 | Holding register | 637 | Module37 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10638 | Holding register | 638 | Module38 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10639 | Holding register | 639 | Module39 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10640 | Holding register | 640 | Module40 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10641 | Holding register | 641 | Module41 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10642 | Holding register | 642 | Modul42 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10643 | Holding register | 643 | Module43 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10644 | Holding register | 644 | Modul44 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10645 | Holding register | 645 | Modul45 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10646 | Holding register | 646 | Modul46 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10647 | Holding register | 647 | Modul47 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10648 | Holding register | 648 | Modul48 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10649 | Holding register | 649 | Module49 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10650 | Holding register | 650 | Module50 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10651 | Holding register | 651 | Module51 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10652 | Holding register | 652 | Module52 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10653 | Holding register | 653 | Module53 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10654 | Holding register | 654 | Module54 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10655 | Holding register | 655 | Module55 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10656 | Holding register | 656 | Module56 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10657 | Holding register | 657 | Module57 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10658 | Holding register | 658 | Module58 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10659 | Holding register | 659 | Module59 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10660 | Holding register | 660 | Module60 digital inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10661 | Holding register | 661 | Modul61 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10662 | Holding register | 662 | Module62 digital inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10663 | Holding register | 663 | Module63 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
10664 | Holding register | 664 | Modul64 Digital Inputs | Read only |  | Bit0: Fault | Bit1: Motor running | Bit2: Ready | Bit3: Load | Bit4: Error | Bit5: R1 | Bit6: R2
**** Schlüsselschalter
bit0 : Remote control
bit1 : Clock
bit2 : Manuel
bit3 : Start/Stop
Achtung:
START Schlüsselschalter muss an sein, ansonsten haben Modbus Settings keine Wirkung
Schlüsselschalter haben höhere Prio.
Sind Schalter per Modbus gesetzt, können diese durch Schalterbetätigung übersteuert werden. Erst ein erneutes Setzten per Modbus aktiviert diese wieder.
bit0 muss immer gesetzt sein, wenn eine AKtion per Modbus erfolgen soll.
bit0 = 1, schaltet Schlüsselschalter in Modbusbetrieb.
Werte werden nur noch über Modbus verarbeitet.
Um alles zurück zu setzen, muss in Register 15 eine 0 gesetzt werden.
Beispiel für Schalterstellungen:
Register 15 = 11 (0b00001011) bit0,bit1 und bit3 gesetzt bedeutet:
Remote control, Clock und Start sind gesetzt.
Register 15 = 5 (0b00000101) bit0 und bit2 gesetzt bedeutet:
Remote control und Manuell sind gesetzt.
Register 15 = 13 (0b00001101) bit0 und bit2 und bit3 gesetzt bedeutet:
Remote control, START und Manuell sind gesetzt.
Register 15 nur bei Bedarf setzen, kein permaneter Loop.
Diese würde eventuelle EIngriffe per Schalter sofort wieder überschreiben.